## Information
Copyright note
Copyright 2024 CCM-WGFT
https://www.bipm.org/en/committees/cc/ccm/wg/ccm-wgft
Licensed under the EUPL, Version 1.2 or – as soon they will be approved by the European Commission - subsequent versions of the EUPL (the "Licence"). You may not use this work except in compliance with the Licence.
You may obtain a copy of the Licence at:
https://joinup.ec.europa.eu/software/page/eupl
Unless required by applicable law or agreed to in writing, software distributed under the Licence is distributed on an "AS IS" basis, WITHOUT WARRANTIES OR CONDITIONS OF ANY KIND, either express or implied.
See the Licence for the specific language governing permissions and limitations under the Licence.
Instruction on how to use this tool
Important note
This file is a template and should not be changed or renamed.
Make a copy of it for your own CMC submission.
How to use the tool
Instructions on how to use this tool can be found in the "Guidelines for Submission and Review of Calibration and Measurement Capabilities (CMCs)" issued by the Working Group on Force and Torque (CCM-WGFT) of the CIPM's Consultative Committee for Mass and Related Quantities (CCM).
Further development
Depending on the future work on the CCM-WGFT - CMC Review Guidance, this tool might be further developed, and, if necessary, substantially changed.
Contact persons:
Andy Knott, NPL, London, United Kingdom
andy.knott@npl.co.uk
Dirk Röske, PTB, Braunschweig, Germany
dirk.roeske@ptb.de

## CMC
CIPM MRA Appendix C: Calibration and Measurement Capability (CMC) Declarations
Calibration or Measurement Service |  |  | Measurand Level or Range |  |  | Measurement Conditions/Independent Variable |  | Expanded Uncertainty | [5 empty] | Reference Standard used in calibration |  | List of Comparisons supporting this measurement/ calibration service | Comments to be published via the web page | Administration
Quantity/ Class | Instrument or Artifact | Instrument Type or Method | Minimum value | Maximum value | Units | Parameter | Specifications | Value | Units | Coverage Factor | Level of Confidence | Is the expanded uncertainty a relative one? | Evidence check | Standard | Source of traceability |  |  | NMI Service Identifier | Service Category | NMI | Review Status | Review Comments
FORCE
[10 empty] | 2 | 95% | Yes | CMC-F1
[10 empty] | 2 | 95% | Yes | CMC-F2
[10 empty] | 2 | 95% | Yes | CMC-F3
[10 empty] | 2 | 95% | Yes | CMC-F4
[10 empty] | 2 | 95% | Yes | CMC-F5
TORQUE
[10 empty] | 2 | 95% | Yes | CMC-T1
[10 empty] | 2 | 95% | Yes | CMC-T2
[10 empty] | 2 | 95% | Yes | CMC-T3
[10 empty] | 2 | 95% | Yes | CMC-T4
[10 empty] | 2 | 95% | Yes | CMC-T5
Click on a heading to see its description.
Follow the recommendations provided in worksheets "Formatting Instructions" and "Formatting Examples"
Note on D6: CCM-WGFT - value examples: 1 0.001 1E-6 1000
Note on D12: CCM-WGFT - value examples: 1 0.001 1E-6 1000
Note on E6: CCM-WGFT - value examples: 1 0.001 1E-6 1000
Note on E12: CCM-WGFT - value examples: 1 0.001 1E-6 1000
Note on I6: CCM-WGFT - uncertainty examples: Notes: Comments and their preceding hash symbol # should not be entered. Any negative term in formulas should be placed first. - value examples in %, F always in N 0.001 # 1E-05 · 100 % = 0.001 % 0.02 # 0.0002 · 100 % = 0.02 % 0.002 + 100 N / F; F in N # (0.00002 + 1 N / F) · 100 % -100 N / F + 0.002; F in N # (-1 N / F + 0.00002) · 100 % - value examples in N, F always in N 0.1 N 0.00002 F + 1 N; F in N -1 N + 0.00002 F; F in N
Note on I12: CCM-WGFT - uncertainty examples: Notes: Comments and their preceding hash symbol # should not be entered. Any negative term in formulas should be placed first. - value examples in %, T always in N m 0.001 # 1E-05 · 100 % = 0.001 % 0.02 # 0.0002 · 100 % = 0.02 % 0.002 + 100 N m / T; T in N m # (0.00002 + 1 N m / T) · 100 % -100 N m / T + 0.002; T in N m # (-1 N m / T + 0.00002) · 100 % - value examples in N m, T always in N m 0.1 N m 0.00002 T + 1 N m; T in N m -1 N m + 0.00002 T; T in N m
Note on Q6: CCM-WGFT: List example, no space, no new line, separated by semi-colon CCM.F-K1;CCM.F-K2;CCM.F-K3
Note on Q12: CCM-WGFT: List example, no space, no new line, separated by semi-colon CCM.F-K1;CCM.F-K2;CCM.F-K3

## Evidence
Back to CMC
CMC metadata |  | CMC-F1 | CMC-F2 | CMC-F3 | CMC-F4 | CMC-F5 | CMC-T1 |  | CMC-T2 | CMC-T3 | CMC-T4 | CMC-T5
Quantity |  | Force | Force | Force | Force | Force | Torque |  | Torque | Torque | Torque | Torque
Traceability
Minimum force in N / Minimum torque in N m
Minimum expanded (k = 2) uncertainty
Difficulty level
Required points
Total points |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
Technical evidence | Points | Supplied | Supplied | Supplied | Supplied | Supplied | Supplied |  | Supplied | Supplied | Supplied | Supplied
Fully-documented uncertainty budget | 16 | No | No | No | No | No | No |  | No | No | No | No
Results of key or supplementary comparison | 12 | No | No | No | No | No | No |  | No | No | No | No
Onsite peer assessment reports | 6 | No | No | No | No | No | No |  | No | No | No | No
Publicly-available information on technical activities | 4 | No | No | No | No | No | No |  | No | No | No | No
Active participation in RMO projects | 3 | No | No | No | No | No | No |  | No | No | No | No
Other evidence of knowledge and experience | 2 | No | No | No | No | No | No |  | No | No | No | No
Decimal sign check |  |  | Force |  | 1 | 3
0.1 |  |  | Deadweight |  | 0.005% | 0.05% |  | a | -0.002
|  |  | Deadweight | 1 | 0.01% | 0.1% |  | b | 0.003
Force |  |  | Hydraulic amplification |  | 0.01% | 0.1% |  |  | u(F) = a + b · F | u(F) / F
Deadweight |  |  | Lever amplification |  | 0.01% | 0.1% | 1 |  | 0.001 | 0.001
Hydraulic amplification |  |  | Single reference transducer |  | 0.02% | 0.2% | 2 |  | 0.004 | 0.002
Lever amplification |  |  | Single reference transducer | 10 | 0.05% | 0.5% | 3 |  | 0.007 | 0.0023333
Single reference transducer |  |  | Multiple reference transducers / build-up system |  | 0.02% | 0.2% | 4 |  | 0.01 | 0.0025
Multiple reference transducers / build-up system |  |  | Torque |  | 1 | 3 | 5 |  | 0.013 | 0.0026
Torque |  |  | Deadweight + lever(s) |  | 0.005% | 0.05% | 6 |  | 0.016 | 0.0026667
Deadweight + lever(s) |  |  | Deadweight + lever(s) | 1 | 0.01% | 0.1% | 7 |  | 0.019 | 0.0027143
Jockey weights + lever |  |  | Jockey weights + lever |  | 0.02% | 0.2% | 8 |  | 0.022 | 0.00275
Load cell(s) + lever(s) |  |  | Load cell(s) + lever(s) |  | 0.02% | 0.2% | 9 |  | 0.025 | 0.0027778
Reference transducer |  |  | Reference transducer |  | 0.02% | 0.2% | 10 |  | 0.028 | 0.0028
Reference torque wrench |  |  | Reference transducer | 10 | 0.05% | 0.5%
|  |  | Reference torque wrench |  | 0.02% | 0.2%
|  |  |  | ① | ② | ③ | ④ |  | ⑤ | ⑥ | ⑦ | ⑧
Force: Min-Max check |  | Force: Minimum uncertainty | Result in % | %,no sum,no F,no div | %,no sum,F,div F/N | %,no sum,F,div N/F | %,sum,F,div F/N |  | %,sum,F,div N/F | N,sum,F,no div | N,no sum,F,no div | N,no sum,no F,no div
TRUE |  | ,no sum,no F,no div | #N/A
TRUE |  | ,no sum,no F,no div | #N/A
TRUE |  | ,no sum,no F,no div | #N/A
TRUE |  | ,no sum,no F,no div | #N/A
TRUE |  | ,no sum,no F,no div | #N/A
Torque: Min-Max check |  | Torque: Minimum uncertainty | Result in % | %,no sum,no T,no div | %,no sum,T,div T/(Nm) | %,no sum,T,div Nm/T | %,sum,T,div T/(Nm) |  | %,sum,T,div Nm/T | N m,sum,T,no div | N m,no sum,T,no div | N m,no sum,no T,no div
TRUE |  | ,no sum,no T,no div | #N/A
TRUE |  | ,no sum,no T,no div | #N/A
TRUE |  | ,no sum,no T,no div | #N/A
TRUE |  | ,no sum,no T,no div | #N/A
TRUE |  | ,no sum,no T,no div | #N/A

## Field descriptions
| Field |  | Description
White cells contain information that will be published in the KCDB web page | Calibration or Measurement Service | Quantity/Class | Enter the quantity being measured. In the area of Length this filed is called "Class" and specifies the type of artifact under calibration, for example: "diameter standards", "end standards", "CMM artifacts".
|  | Instrument or Artifact | Device under calibration. Item received by the customer
|  | Instrument Type or Method | This field may be used to further specify the type of instrument to be calibrated or the calibration method
| Measurand Level or Range | Minimum value | The measurement range can be expressed explicitly or implicitly (i.e. through a range of parameters) but never with a reference to other services. Implicit specifications must provide enough information in the parameters section so as to indicate the range of validity of the uncertainty statement.
Maximum value
Units
| Measurement Conditions/Independent Variable | Parameter | Examples of parameters are calibration conditions like ambient temperature, a variable condition like frequency for AC electrical quantities or a radionuclide for a CMC in radioactivity: Parameter Specifications ---------------------- ---------------------------------------- Temperature 20 ºC Frequency 10 Hz to 100 Hz Co-60 rectangular, planar sources Use separate lines if specifying more than one parameter. Never imbed more than one line in a single cell.
Specifications
| Expanded Uncertainty | Value | Provide an unambiguous uncertainty statement. Examples are a fixed value, a range of values or a formula in terms of the measurand or a parameter. When the measurand and the uncertainty cover a range of values, it is assumed that linear interpolation can be used to find intermediate values.
Units
|  | Coverage Factor | The coverage factor and the level of confidence should be consistent with an assumed distribution shape. Normal values are 2 and 95 %, respectively, but other values may be given if it is customary in a given metrology field and the issuing laboratory has enough information on the measurement distribution.
Level of Confidence
|  | Is the expanded uncertainty a relative one? | Write "Yes" or "No". This is especially important when both, the measurement and the uncertainty levels are given as percentages but is should never be left blank.
Information for reviewers. Not to be published | Reference Standard used in calibration | Standard | Indicate the standard that is used to carry out the calibration or measurement.
|  | Source of traceability | Provide the name(s) or acronym(s) of the NMI(s) that hold(s) the primary standard(s) from which the standard specified in the previous cell obtains traceability to the SI. Additionally, indicate the names of intermediate laboratories if this traceability is not obtained directly from the above-mentioned primary NMI(s).
| List of Comparisons supporting this measurement/calibration service |  | Provide the name of comparisons as designated by the organizers. Comparisons listed in Appendix B are preferred but CC working groups on CMCs may accept other types of comparisons.
To be published in the KCDB | Comments to be published via the web page |  | Information listed here will be published with the CMC. Examples are restrictions on the service scope requested by reviewers. After 24 May 2004 the KCDB adds the publication date in this field. Rows corresponding to CMCs to be deleted from Appendix C are shaded in pink and inlcude in this field the comment "To be deleted from the KCDB".
NMI and NMI Service Identifier are published in the KCDB | Administration | NMI Service Identifier | Each laboratory can choose how to identify its internal service identifiers. Examples are a simple consecutive number or the NMI catalogue number. Internal identifiers that include blank characters or a series of words should be avoided.
|  | Service Category | Service number to be drawn from service categories identified by the CC of each metrology area.
|  | NMI | The organization that is responsible for the CMC declaration. Use the official abbreviation for the NMI or Designated Service Provider.
|  | Review Status | To be used by the RMO review panel.
|  | Review Comments | To be used by the RMO review panel for comments or by the issuing NMI to communicate comments to reviewers.
NOTE: Additional columns to the right may be used for intra- or inter-regional review purposes