## Schedule4x
TWSTFT Schedule Europe <-> Europe |  |  |  |  | + Europe <-> USA |  |  |  |  | Since 2004-01-15
First | Last | Action | Length | OP |  | NPL |  | VSL |  | SP |  | PTB |  | OCA |  | IEN |  | ROA |  | NIST |  | USNO |  | Lab
|  |  |  | TX | RX | TX | RX | TX | RX | TX | RX | TX | RX | TX | RX | TX | RX | TX | RX | TX | RX | TX | RX
hhmmss | hhmmss |  | s | -20 |  | 0 |  | 20 |  | -40 |  | 40 |  | 60 |  | -60 |  | -100 |  | 80 |  | -80 |  | offset kHz
UTC | UTC |  |  | 0 |  | 1 |  | 2 |  | 3 |  | 4 |  | 5 |  | 6 |  | 7 |  | 6 |  | 7 |  | TX code
0:00 | 0:01 | Prep.time | 60 | CC |  | CC |  | CC |  | CC |  | CC |  | CC |  | CC |  | CC
0:01 | 0:03 | CC | 120 | CC |  | CC |  | CC |  | CC |  | CC |  | CC |  | CC |  | CC
0:03 | 0:04 | Prep.time | 60 | 0 | 0 | 1 | 1 | 2 | 2 | 3 | 3 | 4 | 4 | 5 | 5 | 6 | 6 | 7 | 7
0:04 | 0:06 | CAL | 120 | 0 | 0 | 1 | 1 | 2 | 2 | 3 | 3 | 4 | 4 | 5 | 5 | 6 | 6 | 7 | 7
0:06 | 0:07 | Prep.time | 60 | 0 | 0 | 1 | 1 | 2 | 2 | 3 | 3 | 4 | 4 | 5 | 5 | 6 | 6 | 7 | 7
0:07 | 0:09 | Ranging | 120 | 0 | 0 | 1 | 1 | 2 | 2 | 3 | 3 | 4 | 4 | 5 | 5 | 6 | 6 | 7 | 7
0:09 | 0:10 | Prep.time | 60 | 0 | 1 | 1 | 0 | 2 | 3 | 3 | 2 | 4 | 5 | 5 | 4 | 6 | 7 | 7 | 6
0:10 | 0:12 | Measure | 120 | 0 | 1 | 1 | 0 | 2 | 3 | 3 | 2 | 4 | 5 | 5 | 4 | 6 | 7 | 7 | 6
0:12 | 0:13 | Prep.time | 60 | 0 | 2 | 1 | 3 | 2 | 0 | 3 | 1 | 4 | 6 | 5 | 7 | 6 | 4 | 7 | 5
0:13 | 0:15 | Measure | 120 | 0 | 2 | 1 | 3 | 2 | 0 | 3 | 1 | 4 | 6 | 5 | 7 | 6 | 4 | 7 | 5
0:15 | 0:16 | Prep.time | 60 | 0 | 3 | 1 | 2 | 2 | 1 | 3 | 0 | 4 | 7 | 5 | 6 | 6 | 5 | 7 | 4
0:16 | 0:18 | Measure | 120 | 0 | 3 | 1 | 2 | 2 | 1 | 3 | 0 | 4 | 7 | 5 | 6 | 6 | 5 | 7 | 4
0:18 | 0:19 | Prep.time | 60 | 0 | 4 | 1 | 5 | 2 | 6 | 3 | 7 | 4 | 0 | 5 | 1 | 6 | 2 | 7 | 3
0:19 | 0:21 | Measure | 120 | 0 | 4 | 1 | 5 | 2 | 6 | 3 | 7 | 4 | 0 | 5 | 1 | 6 | 2 | 7 | 3
0:21 | 0:22 | Prep.time | 60 | 0 | 5 | 1 | 4 | 2 | 7 | 3 | 6 | 4 | 1 | 5 | 0 | 6 | 3 | 7 | 2
0:22 | 0:24 | Measure | 120 | 0 | 5 | 1 | 4 | 2 | 7 | 3 | 6 | 4 | 1 | 5 | 0 | 6 | 3 | 7 | 2
0:24 | 0:25 | Prep.time | 60 | 0 | 6 | 1 | 7 | 2 | 4 | 3 | 5 | 4 | 2 | 5 | 3 | 6 | 0 | 7 | 1
0:25 | 0:27 | Measure | 120 | 0 | 6 | 1 | 7 | 2 | 4 | 3 | 5 | 4 | 2 | 5 | 3 | 6 | 0 | 7 | 1
0:27 | 0:28 | Prep.time | 60 | 0 | 7 | 1 | 6 | 2 | 5 | 3 | 4 | 4 | 3 | 5 | 2 | 6 | 1 | 7 | 0
0:28 | 0:30 | Measure | 120 | 0 | 7 | 1 | 6 | 2 | 5 | 3 | 4 | 4 | 3 | 5 | 2 | 6 | 1 | 7 | 0
0:30 | 0:31 | Prep.time | 60 | CC |  | CC |  | CC |  | CC |  | CC |  | CC |  | CC |  | CC |  | CC |  | CC
0:31 | 0:33 | CC | 120 | CC |  | CC |  | CC |  | CC |  | CC |  | CC |  | CC |  | CC |  | CC |  | CC
0:33 | 0:34 | Prep.time | 60 | 0 | 7 | 1 |  | 2 |  | 3 |  | 4 |  | 5 | 6 | 6 |  | 7 |  | 6 | 5 | 7 | 0
0:34 | 0:36 | Measure | 120 | 0 | 7 | 1 |  | 2 |  | 3 |  | 4 |  | 5 | 6 | 6 |  | 7 |  | 6 | 5 | 7 | 0
0:36 | 0:37 | Prep.time | 60 | 0 | 6 | 1 | 7 | 2 |  | 3 |  | 4 |  | 5 |  | 6 |  | 7 |  | 6 | 0 | 7 | 1
0:37 | 0:39 | Measure | 120 | 0 | 6 | 1 | 7 | 2 |  | 3 |  | 4 |  | 5 |  | 6 |  | 7 |  | 6 | 0 | 7 | 1
0:39 | 0:40 | Prep.time | 60 | 0 |  | 1 | 6 | 2 | 7 | 3 |  | 4 |  | 5 |  | 6 |  | 7 |  | 6 | 1 | 7 | 2
0:40 | 0:42 | Measure | 120 | 0 |  | 1 | 6 | 2 | 7 | 3 |  | 4 |  | 5 |  | 6 |  | 7 |  | 6 | 1 | 7 | 2
0:42 | 0:43 | Prep.time | 60 | 0 |  | 1 |  | 2 | 6 | 3 | 7 | 4 |  | 5 |  | 6 |  | 7 |  | 6 | 2 | 7 | 3
0:43 | 0:45 | Measure | 120 | 0 |  | 1 |  | 2 | 6 | 3 | 7 | 4 |  | 5 |  | 6 |  | 7 |  | 6 | 2 | 7 | 3
0:45 | 0:46 | Prep.time | 60 | 0 |  | 1 |  | 2 |  | 3 | 6 | 4 | 7 | 5 |  | 6 |  | 7 |  | 6 | 3 | 7 | 4
0:46 | 0:48 | Measure | 120 | 0 |  | 1 |  | 2 |  | 3 | 6 | 4 | 7 | 5 |  | 6 |  | 7 |  | 6 | 3 | 7 | 4
0:48 | 0:49 | Prep.time | 60 | 0 |  | 1 |  | 2 |  | 3 |  | 4 | 6 | 5 | 7 | 6 |  | 7 |  | 6 | 4 | 7 | 5
0:49 | 0:51 | Measure | 120 | 0 |  | 1 |  | 2 |  | 3 |  | 4 | 6 | 5 | 7 | 6 |  | 7 |  | 6 | 4 | 7 | 5
0:51 | 0:52 | Prep.time | 60 | 0 |  | 1 |  | 2 |  | 3 |  | 4 |  | 5 |  | 6 | 6 | 7 | 7 | 6 | 6 | 7 | 7
0:52 | 0:54 | Measure | 120 | 0 |  | 1 |  | 2 |  | 3 |  | 4 |  | 5 |  | 6 | 6 | 7 | 7 | 6 | 6 | 7 | 7
0:54 | 0:55 | Prep.time | 60 | 0 |  | 1 |  | 2 |  | 3 |  | 4 |  | 5 |  | 6 | 7 | 7 | 6 | 6 | 7 | 7 | 6
0:55 | 0:57 | Measure | 120 | 0 |  | 1 |  | 2 |  | 3 |  | 4 |  | 5 |  | 6 | 7 | 7 | 6 | 6 | 7 | 7 | 6
0:57 | 0:58 | Prep.time | 60 | 0 | 0 | 1 | 1 | 2 | 2 | 3 | 3 | 4 | 4 | 5 | 5 | 6 | 6 | 7 | 7 | 6 | 6 | 7 | 7
0:58 | 1:00 | CAL | 120 | 0 | 0 | 1 | 1 | 2 | 2 | 3 | 3 | 4 | 4 | 5 | 5 | 6 | 6 | 7 | 7 | 6 | 6 | 7 | 7
CC: | Clean Carrier
CAL: | Calibration
SP: | Original DTAG, temporally NPL2 and TUG movable station, now assigned to SP (Sweden)
OP: | Original TUG, now assigned to Observatoire de Paris (OP)
This schedule is repeated at : |  |  | 08.00 UTC |  | 14.00 UTC |  | 16:00 UTC

## Schedule4x 8&9A
TWSTFT Schedule Europe <-> Europe |  |  |  |  | + Europe <-> USA |  |  |  | +CH +TUG codes 8 and 9
First | Last | Action | Length | OP |  | NPL |  | VSL |  | SP |  | PTB |  | OCA |  | IEN |  | ROA |  | TUG |  | CH |  | NIST |  | USNO |  | Lab
|  |  |  | TX | RX | TX | RX | TX | RX | TX | RX | TX | RX | TX | RX | TX | RX | TX | RX | TX | RX | TX | RX | TX | RX | TX | RX
hhmmss | hhmmss |  | s | -20 |  | 0 |  | 20 |  | -40 |  | 40 |  | 60 |  | -60 |  | -100 |  | 100 |  | 10 |  | 80 |  | -80 |  | offset kHz
UTC | UTC |  |  | 0 |  | 1 |  | 2 |  | 3 |  | 4 |  | 5 |  | 6 |  | 7 |  | 8 |  | 9 |  | 6 |  | 7 |  | TX code
14:00 | 14:01 | Prep.time | 60 | CC |  | CC |  | CC |  | CC |  | CC |  | CC |  | CC |  | CC |  | CC |  | CC
14:01 | 14:03 | CC | 120 | CC |  | CC |  | CC |  | CC |  | CC |  | CC |  | CC |  | CC |  | CC |  | CC
14:03 | 14:04 | Prep.time | 60 | 0 | 0 | 1 | 1 | 2 | 2 | 3 | 3 | 4 | 4 | 5 | 5 | 6 | 6 | 7 | 7 | 8 | 9 | 9 | 8
14:04 | 14:06 | CAL | 120 | 0 | 0 | 1 | 1 | 2 | 2 | 3 | 3 | 4 | 4 | 5 | 5 | 6 | 6 | 7 | 7 | 8 | 9 | 9 | 8
14:06 | 14:07 | Prep.time | 60 | 0 | 0 | 1 | 1 | 2 | 2 | 3 | 3 | 4 | 4 | 5 | 5 | 6 | 6 | 7 | 7 | 8 |  | 9
14:07 | 14:09 | Ranging | 120 | 0 | 0 | 1 | 1 | 2 | 2 | 3 | 3 | 4 | 4 | 5 | 5 | 6 | 6 | 7 | 7 | 8 |  | 9
14:09 | 14:10 | Prep.time | 60 | 0 | 1 | 1 | 0 | 2 | 3 | 3 | 2 | 4 | 5 | 5 | 4 | 6 | 7 | 7 | 6 | 8 |  | 9
14:10 | 14:12 | Measure | 120 | 0 | 1 | 1 | 0 | 2 | 3 | 3 | 2 | 4 | 5 | 5 | 4 | 6 | 7 | 7 | 6 | 8 |  | 9
14:12 | 14:13 | Prep.time | 60 | 0 | 2 | 1 | 3 | 2 | 0 | 3 | 1 | 4 | 6 | 5 | 7 | 6 | 4 | 7 | 5 | 8 |  | 9
14:13 | 14:15 | Measure | 120 | 0 | 2 | 1 | 3 | 2 | 0 | 3 | 1 | 4 | 6 | 5 | 7 | 6 | 4 | 7 | 5 | 8 |  | 9
14:15 | 14:16 | Prep.time | 60 | 0 | 3 | 1 | 2 | 2 | 1 | 3 | 0 | 4 | 7 | 5 | 6 | 6 | 5 | 7 | 4 | 8 |  | 9
14:16 | 14:18 | Measure | 120 | 0 | 3 | 1 | 2 | 2 | 1 | 3 | 0 | 4 | 7 | 5 | 6 | 6 | 5 | 7 | 4 | 8 |  | 9
14:18 | 14:19 | Prep.time | 60 | 0 | 4 | 1 | 5 | 2 | 6 | 3 | 7 | 4 | 0 | 5 | 1 | 6 | 2 | 7 | 3 | 8 |  | 9
14:19 | 14:21 | Measure | 120 | 0 | 4 | 1 | 5 | 2 | 6 | 3 | 7 | 4 | 0 | 5 | 1 | 6 | 2 | 7 | 3 | 8 |  | 9
14:21 | 14:22 | Prep.time | 60 | 0 | 5 | 1 | 4 | 2 | 7 | 3 | 6 | 4 | 1 | 5 | 0 | 6 | 3 | 7 | 2 | 8 |  | 9
14:22 | 14:24 | Measure | 120 | 0 | 5 | 1 | 4 | 2 | 7 | 3 | 6 | 4 | 1 | 5 | 0 | 6 | 3 | 7 | 2 | 8 |  | 9
14:24 | 14:25 | Prep.time | 60 | 0 | 6 | 1 | 7 | 2 | 4 | 3 | 5 | 4 | 2 | 5 | 3 | 6 | 0 | 7 | 1 | 8 | 6 | 9 | 7 | 6 | 8 | 7 | 9
14:25 | 14:27 | Measure | 120 | 0 | 6 | 1 | 7 | 2 | 4 | 3 | 5 | 4 | 2 | 5 | 3 | 6 | 0 | 7 | 1 | 8 | 6 | 9 | 7 | 6 | 8 | 7 | 9
14:27 | 14:28 | Prep.time | 60 | 0 | 7 | 1 | 6 | 2 | 5 | 3 | 4 | 4 | 3 | 5 | 2 | 6 | 1 | 7 | 0 | 8 | 7 | 9 | 6 | 6 | 9 | 7 | 8
14:28 | 14:30 | Measure | 120 | 0 | 7 | 1 | 6 | 2 | 5 | 3 | 4 | 4 | 3 | 5 | 2 | 6 | 1 | 7 | 0 | 8 | 7 | 9 | 6 | 6 | 9 | 7 | 8
14:30 | 14:31 | Prep.time | 60 | CC |  | CC |  | CC |  | CC |  | CC |  | CC |  | CC |  | CC |  | CC |  | CC |  | CC |  | CC
14:31 | 14:33 | CC | 120 | CC |  | CC |  | CC |  | CC |  | CC |  | CC |  | CC |  | CC |  | CC |  | CC |  | CC |  | CC
14:33 | 14:34 | Prep.time | 60 | 0 | 7 | 1 | 8 | 2 | 9 | 3 |  | 4 |  | 5 |  | 6 |  | 7 | 6 | 8 | 1 | 9 | 2 | 6 | 7 | 7 | 0
14:34 | 14:36 | Measure | 120 | 0 | 7 | 1 | 8 | 2 | 9 | 3 |  | 4 |  | 5 |  | 6 |  | 7 | 6 | 8 | 1 | 9 | 2 | 6 | 7 | 7 | 0
14:36 | 14:37 | Prep.time | 60 | 0 | 6 | 1 | 7 | 2 | 8 | 3 | 9 | 4 |  | 5 |  | 6 |  | 7 |  | 8 | 2 | 9 | 3 | 6 | 0 | 7 | 1
14:37 | 14:39 | Measure | 120 | 0 | 6 | 1 | 7 | 2 | 8 | 3 | 9 | 4 |  | 5 |  | 6 |  | 7 |  | 8 | 2 | 9 | 3 | 6 | 0 | 7 | 1
14:39 | 14:40 | Prep.time | 60 | 0 | 9 | 1 | 6 | 2 | 7 | 3 | 8 | 4 |  | 5 |  | 6 |  | 7 |  | 8 | 3 | 9 | 0 | 6 | 1 | 7 | 2
14:40 | 14:42 | Measure | 120 | 0 | 9 | 1 | 6 | 2 | 7 | 3 | 8 | 4 |  | 5 |  | 6 |  | 7 |  | 8 | 3 | 9 | 0 | 6 | 1 | 7 | 2
14:42 | 14:43 | Prep.time | 60 | 0 |  | 1 | 9 | 2 | 6 | 3 | 7 | 4 | 8 | 5 |  | 6 |  | 7 |  | 8 | 4 | 9 | 1 | 6 | 2 | 7 | 3
14:43 | 14:45 | Measure | 120 | 0 |  | 1 | 9 | 2 | 6 | 3 | 7 | 4 | 8 | 5 |  | 6 |  | 7 |  | 8 | 4 | 9 | 1 | 6 | 2 | 7 | 3
14:45 | 14:46 | Prep.time | 60 | 0 |  | 1 |  | 2 |  | 3 | 6 | 4 | 7 | 5 | 8 | 6 | 9 | 7 |  | 8 | 5 | 9 | 6 | 6 | 3 | 7 | 4
14:46 | 14:48 | Measure | 120 | 0 |  | 1 |  | 2 |  | 3 | 6 | 4 | 7 | 5 | 8 | 6 | 9 | 7 |  | 8 | 5 | 9 | 6 | 6 | 3 | 7 | 4
14:48 | 14:49 | Prep.time | 60 | 0 |  | 1 |  | 2 |  | 3 |  | 4 | 6 | 5 | 7 | 6 | 8 | 7 | 9 | 8 | 6 | 9 | 7 | 6 | 4 | 7 | 5
14:49 | 14:51 | Measure | 120 | 0 |  | 1 |  | 2 |  | 3 |  | 4 | 6 | 5 | 7 | 6 | 8 | 7 | 9 | 8 | 6 | 9 | 7 | 6 | 4 | 7 | 5
14:51 | 14:52 | Prep.time | 60 | 0 |  | 1 |  | 2 |  | 3 |  | 4 | 9 | 5 | 6 | 6 | 7 | 7 | 8 | 8 | 7 | 9 | 4 | 6 | 5 | 7 | 6
14:52 | 14:54 | Measure | 120 | 0 |  | 1 |  | 2 |  | 3 |  | 4 | 9 | 5 | 6 | 6 | 7 | 7 | 8 | 8 | 7 | 9 | 4 | 6 | 5 | 7 | 6
14:54 | 14:55 | Prep.time | 60 | 0 | 8 | 1 |  | 2 |  | 3 |  | 4 |  | 5 | 9 | 6 | 6 | 7 | 7 | 8 | 0 | 9 | 5 | 6 | 6 | 7 | 7
14:55 | 14:57 | Measure | 120 | 0 | 8 | 1 |  | 2 |  | 3 |  | 4 |  | 5 | 9 | 6 | 6 | 7 | 7 | 8 | 0 | 9 | 5 | 6 | 6 | 7 | 7
14:57 | 14:58 | Prep.time | 60 | 0 | 0 | 1 | 1 | 2 | 2 | 3 | 3 | 4 | 4 | 5 | 5 | 6 | 6 | 7 | 7 | 8 | 8 | 9 | 9 | 6 | 6 | 7 | 7
14:58 | 15:00 | CAL | 120 | 0 | 0 | 1 | 1 | 2 | 2 | 3 | 3 | 4 | 4 | 5 | 5 | 6 | 6 | 7 | 7 | 8 | 8 | 9 | 9 | 6 | 6 | 7 | 7
CC: | Clean Carrier
CAL: | Calibration
This schedule is repeated at 0h 8h 14h 16h UTC since January 15, 2004.

## Schedule4x 8&9B
TWSTFT Schedule Europe <-> Europe |  |  |  |  | + Europe <-> USA |  |  |  |  | Since 2000-02-02
First | Last | Action | Length | OP |  | NPL |  | VSL |  | SP |  | PTB |  | OCA |  | IEN |  | ROA |  | TUG |  | CH |  | NIST |  | USNO |  | Lab
|  |  |  | TX | RX | TX | RX | TX | RX | TX | RX | TX | RX | TX | RX | TX | RX | TX | RX | TX | RX | TX | RX | TX | RX | TX | RX
hhmmss | hhmmss |  | s | -20 |  | 0 |  | 20 |  | -40 |  | 40 |  | 60 |  | -60 |  | -100 |  | 100 |  | 10 |  | 80 |  | -80 |  | offset kHz
UTC | UTC |  |  | 0 |  | 1 |  | 2 |  | 3 |  | 4 |  | 5 |  | 6 |  | 7 |  | 8 |  | 9 |  | 6 |  | 7 |  | TX code
14:00 | 14:01 | Prep.time | 60 | CC |  | CC |  | CC |  | CC |  | CC |  | CC |  | CC |  | CC |  | CC |  | CC
14:01 | 14:03 | CC | 120 | CC |  | CC |  | CC |  | CC |  | CC |  | CC |  | CC |  | CC |  | CC |  | CC
14:03 | 14:04 | Prep.time | 60 | 0 | 0 | 1 | 1 | 2 | 2 | 3 | 3 | 4 | 4 | 5 | 5 | 6 | 6 | 7 | 7 | 8 | 8 | 9 | 9
14:04 | 14:06 | CAL | 120 | 0 | 0 | 1 | 1 | 2 | 2 | 3 | 3 | 4 | 4 | 5 | 5 | 6 | 6 | 7 | 7 | 8 | 8 | 9 | 9
14:06 | 14:07 | Prep.time | 60 | 0 | 0 | 1 | 1 | 2 | 2 | 3 | 3 | 4 | 4 | 5 | 5 | 6 | 6 | 7 | 7 | 8 | 8 | 9 | 9
14:07 | 14:09 | Ranging | 120 | 0 | 0 | 1 | 1 | 2 | 2 | 3 | 3 | 4 | 4 | 5 | 5 | 6 | 6 | 7 | 7 | 8 | 8 | 9 | 9
14:09 | 14:10 | Prep.time | 60 | 0 | 1 | 1 | 0 | 2 | 3 | 3 | 2 | 4 | 5 | 5 | 4 | 6 | 7 | 7 | 6 | 8 | 9 | 9 | 8
14:10 | 14:12 | Measure | 120 | 0 | 1 | 1 | 0 | 2 | 3 | 3 | 2 | 4 | 5 | 5 | 4 | 6 | 7 | 7 | 6 | 8 | 9 | 9 | 8
14:12 | 14:13 | Prep.time | 60 | 0 | 2 | 1 | 3 | 2 | 0 | 3 | 1 | 4 | 6 | 5 | 7 | 6 | 4 | 7 | 5 | 8 |  | 9
14:13 | 14:15 | Measure | 120 | 0 | 2 | 1 | 3 | 2 | 0 | 3 | 1 | 4 | 6 | 5 | 7 | 6 | 4 | 7 | 5 | 8 |  | 9
14:15 | 14:16 | Prep.time | 60 | 0 | 3 | 1 | 2 | 2 | 1 | 3 | 0 | 4 | 7 | 5 | 6 | 6 | 5 | 7 | 4 | 8 |  | 9
14:16 | 14:18 | Measure | 120 | 0 | 3 | 1 | 2 | 2 | 1 | 3 | 0 | 4 | 7 | 5 | 6 | 6 | 5 | 7 | 4 | 8 |  | 9
14:18 | 14:19 | Prep.time | 60 | 0 | 4 | 1 | 5 | 2 | 6 | 3 | 7 | 4 | 0 | 5 | 1 | 6 | 2 | 7 | 3 | 8 |  | 9
14:19 | 14:21 | Measure | 120 | 0 | 4 | 1 | 5 | 2 | 6 | 3 | 7 | 4 | 0 | 5 | 1 | 6 | 2 | 7 | 3 | 8 |  | 9
14:21 | 14:22 | Prep.time | 60 | 0 | 5 | 1 | 4 | 2 | 7 | 3 | 6 | 4 | 1 | 5 | 0 | 6 | 3 | 7 | 2 | 8 |  | 9
14:22 | 14:24 | Measure | 120 | 0 | 5 | 1 | 4 | 2 | 7 | 3 | 6 | 4 | 1 | 5 | 0 | 6 | 3 | 7 | 2 | 8 |  | 9
14:24 | 14:25 | Prep.time | 60 | 0 | 6 | 1 | 7 | 2 | 4 | 3 | 5 | 4 | 2 | 5 | 3 | 6 | 0 | 7 | 1 | 8 | 6 | 9 | 7 | 6 | 8 | 7 | 9
14:25 | 14:27 | Measure | 120 | 0 | 6 | 1 | 7 | 2 | 4 | 3 | 5 | 4 | 2 | 5 | 3 | 6 | 0 | 7 | 1 | 8 | 6 | 9 | 7 | 6 | 8 | 7 | 9
14:27 | 14:28 | Prep.time | 60 | 0 | 7 | 1 | 6 | 2 | 5 | 3 | 4 | 4 | 3 | 5 | 2 | 6 | 1 | 7 | 0 | 8 | 7 | 9 | 6 | 6 | 9 | 7 | 8
14:28 | 14:30 | Measure | 120 | 0 | 7 | 1 | 6 | 2 | 5 | 3 | 4 | 4 | 3 | 5 | 2 | 6 | 1 | 7 | 0 | 8 | 7 | 9 | 6 | 6 | 9 | 7 | 8
14:30 | 14:31 | Prep.time | 60 | CC |  | CC |  | CC |  | CC |  | CC |  | CC |  | CC |  | CC |  | CC |  | CC |  | CC |  | CC
14:31 | 14:33 | CC | 120 | CC |  | CC |  | CC |  | CC |  | CC |  | CC |  | CC |  | CC |  | CC |  | CC |  | CC |  | CC
14:33 | 14:34 | Prep.time | 60 | 0 | 7 | 1 |  | 2 | 9 | 3 | 8 | 4 |  | 5 |  | 6 |  | 7 | 6 | 8 | 3 | 9 | 2 | 6 | 7 | 7 | 0
14:34 | 14:36 | Measure | 120 | 0 | 7 | 1 |  | 2 | 9 | 3 | 8 | 4 |  | 5 |  | 6 |  | 7 | 6 | 8 | 3 | 9 | 2 | 6 | 7 | 7 | 0
14:36 | 14:37 | Prep.time | 60 | 0 | 6 | 1 | 7 | 2 |  | 3 | 9 | 4 | 8 | 5 |  | 6 |  | 7 |  | 8 | 4 | 9 | 3 | 6 | 0 | 7 | 1
14:37 | 14:39 | Measure | 120 | 0 | 6 | 1 | 7 | 2 |  | 3 | 9 | 4 | 8 | 5 |  | 6 |  | 7 |  | 8 | 4 | 9 | 3 | 6 | 0 | 7 | 1
14:39 | 14:40 | Prep.time | 60 | 0 |  | 1 | 6 | 2 | 7 | 3 |  | 4 | 9 | 5 | 8 | 6 |  | 7 |  | 8 | 5 | 9 | 4 | 6 | 1 | 7 | 2
14:40 | 14:42 | Measure | 120 | 0 |  | 1 | 6 | 2 | 7 | 3 |  | 4 | 9 | 5 | 8 | 6 |  | 7 |  | 8 | 5 | 9 | 4 | 6 | 1 | 7 | 2
14:42 | 14:43 | Prep.time | 60 | 0 |  | 1 |  | 2 | 6 | 3 | 7 | 4 |  | 5 | 9 | 6 | 8 | 7 |  | 8 | 6 | 9 | 5 | 6 | 2 | 7 | 3
14:43 | 14:45 | Measure | 120 | 0 |  | 1 |  | 2 | 6 | 3 | 7 | 4 |  | 5 | 9 | 6 | 8 | 7 |  | 8 | 6 | 9 | 5 | 6 | 2 | 7 | 3
14:45 | 14:46 | Prep.time | 60 | 0 |  | 1 |  | 2 |  | 3 | 6 | 4 | 7 | 5 |  | 6 | 9 | 7 | 8 | 8 | 7 | 9 | 6 | 6 | 3 | 7 | 4
14:46 | 14:48 | Measure | 120 | 0 |  | 1 |  | 2 |  | 3 | 6 | 4 | 7 | 5 |  | 6 | 9 | 7 | 8 | 8 | 7 | 9 | 6 | 6 | 3 | 7 | 4
14:48 | 14:49 | Prep.time | 60 | 0 | 8 | 1 |  | 2 |  | 3 |  | 4 | 6 | 5 | 7 | 6 |  | 7 | 9 | 8 | 0 | 9 | 7 | 6 | 4 | 7 | 5
14:49 | 14:51 | Measure | 120 | 0 | 8 | 1 |  | 2 |  | 3 |  | 4 | 6 | 5 | 7 | 6 |  | 7 | 9 | 8 | 0 | 9 | 7 | 6 | 4 | 7 | 5
14:51 | 14:52 | Prep.time | 60 | 0 | 9 | 1 | 8 | 2 |  | 3 |  | 4 |  | 5 | 6 | 6 | 7 | 7 |  | 8 | 1 | 9 | 0 | 6 | 5 | 7 | 6
14:52 | 14:54 | Measure | 120 | 0 | 9 | 1 | 8 | 2 |  | 3 |  | 4 |  | 5 | 6 | 6 | 7 | 7 |  | 8 | 1 | 9 | 0 | 6 | 5 | 7 | 6
14:54 | 14:55 | Prep.time | 60 | 0 |  | 1 | 9 | 2 | 8 | 3 |  | 4 |  | 5 |  | 6 | 6 | 7 | 7 | 8 | 2 | 9 | 1 | 6 | 6 | 7 | 7
14:55 | 14:57 | Measure | 120 | 0 |  | 1 | 9 | 2 | 8 | 3 |  | 4 |  | 5 |  | 6 | 6 | 7 | 7 | 8 | 2 | 9 | 1 | 6 | 6 | 7 | 7
14:57 | 14:58 | Prep.time | 60 | 0 | 0 | 1 | 1 | 2 | 2 | 3 | 3 | 4 | 4 | 5 | 5 | 6 | 6 | 7 | 7 | 8 | 3 | 9 | 9 | 6 | 6 | 7 | 7
14:58 | 15:00 | CAL | 120 | 0 | 0 | 1 | 1 | 2 | 2 | 3 | 3 | 4 | 4 | 5 | 5 | 6 | 6 | 7 | 7 | 8 | 4 | 9 | 9 | 6 | 6 | 7 | 7
CC: | Clean Carrier
CAL: | Calibration
This schedule is repeated at 0h 8h 14h 16h UTC since January 15, 2004.

## Schedule4x 8&9C
TWSTFT Schedule C (PROPOSED) Europe <-> Europe |  |  |  |  | + Europe <-> USA
First | Last | Action | Length | OP |  | NPL |  | VSL |  | SP |  | PTB |  | OCA |  | IEN |  | ROA |  | TUG |  | CH |  | NIST |  | USNO |  | Lab
|  |  |  | TX | RX | TX | RX | TX | RX | TX | RX | TX | RX | TX | RX | TX | RX | TX | RX | TX | RX | TX | RX | TX | RX | TX | RX
hhmmss | hhmmss |  | s | -20 |  | 0 |  | 20 |  | -40 |  | 40 |  | 60 |  | -60 |  | -100 |  | 100 |  | 10 |  | 80 |  | -80 |  | offset kHz
UTC | UTC |  |  | 0 |  | 1 |  | 2 |  | 3 |  | 4 |  | 5 |  | 6 |  | 7 |  | 8 |  | 9 |  | 6 |  | 7 |  | TX code
14:00 | 14:01 | Prep.time | 60 | 0 | 0 | 1 | 1 | 2 | 2 | 3 | 3 | 4 | 4 | 5 | 5 | 6 | 6 | 7 | 7 | 8 | 8 | 9 | 9
14:01 | 14:03 | Ranging | 120 | 0 | 0 | 1 | 1 | 2 | 2 | 3 | 3 | 4 | 4 | 5 | 5 | 6 | 6 | 7 | 7 | 8 | 8 | 9 | 9
14:03 | 14:04 | Prep.time | 60 | 0 | 1 | 1 | 0 | 2 | 3 | 3 | 2 | 4 | 5 | 5 | 4 | 6 | 7 | 7 | 6 | 8 | 9 | 9 | 8
14:04 | 14:06 | Measure | 120 | 0 | 1 | 1 | 0 | 2 | 3 | 3 | 2 | 4 | 5 | 5 | 4 | 6 | 7 | 7 | 6 | 8 | 9 | 9 | 8
14:06 | 14:07 | Prep.time | 60 | 0 | 9 | 1 | 2 | 2 | 1 | 3 | 4 | 4 | 3 | 5 | 6 | 6 | 5 | 7 | 8 | 8 | 7 | 9 | 0
14:07 | 14:09 | Measure | 120 | 0 | 9 | 1 | 2 | 2 | 1 | 3 | 4 | 4 | 3 | 5 | 6 | 6 | 5 | 7 | 8 | 8 | 7 | 9 | 0
14:09 | 14:10 | Prep.time | 60 | 0 | 8 | 1 | 3 | 2 | 4 | 3 | 1 | 4 | 2 | 5 | 7 | 6 | 9 | 7 | 5 | 8 | 0 | 9 | 6
14:10 | 14:12 | Measure | 120 | 0 | 8 | 1 | 3 | 2 | 4 | 3 | 1 | 4 | 2 | 5 | 7 | 6 | 9 | 7 | 5 | 8 | 0 | 9 | 6
14:12 | 14:13 | Prep.time | 60 | 0 | 7 | 1 | 4 | 2 | 6 | 3 | 9 | 4 | 1 | 5 | 8 | 6 | 2 | 7 | 0 | 8 | 5 | 9 | 3
14:13 | 14:15 | Measure | 120 | 0 | 7 | 1 | 4 | 2 | 6 | 3 | 9 | 4 | 1 | 5 | 8 | 6 | 2 | 7 | 0 | 8 | 5 | 9 | 3
14:15 | 14:16 | Prep.time | 60 | 0 | 6 | 1 | 5 | 2 | 7 | 3 | 8 | 4 | 9 | 5 | 1 | 6 | 0 | 7 | 2 | 8 | 3 | 9 | 4
14:16 | 14:18 | Measure | 120 | 0 | 6 | 1 | 5 | 2 | 7 | 3 | 8 | 4 | 9 | 5 | 1 | 6 | 0 | 7 | 2 | 8 | 3 | 9 | 4
14:18 | 14:19 | Prep.time | 60 | 0 | 5 | 1 | 6 | 2 | 9 | 3 | 7 | 4 | 8 | 5 | 0 | 6 | 1 | 7 | 3 | 8 | 4 | 9 | 2
14:19 | 14:21 | Measure | 120 | 0 | 5 | 1 | 6 | 2 | 9 | 3 | 7 | 4 | 8 | 5 | 0 | 6 | 1 | 7 | 3 | 8 | 4 | 9 | 2
14:21 | 14:22 | Prep.time | 60 | 0 | 4 | 1 | 7 | 2 | 8 | 3 | 6 | 4 | 0 | 5 | 9 | 6 | 3 | 7 | 1 | 8 | 2 | 9 | 5
14:22 | 14:24 | Measure | 120 | 0 | 4 | 1 | 7 | 2 | 8 | 3 | 6 | 4 | 0 | 5 | 9 | 6 | 3 | 7 | 1 | 8 | 2 | 9 | 5
14:24 | 14:25 | Prep.time | 60 | 0 | 2 | 1 | 8 | 2 | 0 | 3 | 5 | 4 | 6 | 5 | 3 | 6 | 4 | 7 | 9 | 8 | 1 | 9 | 7
14:25 | 14:27 | Measure | 120 | 0 | 2 | 1 | 8 | 2 | 0 | 3 | 5 | 4 | 6 | 5 | 3 | 6 | 4 | 7 | 9 | 8 | 1 | 9 | 7
14:27 | 14:28 | Prep.time | 60 | 0 | 3 | 1 | 9 | 2 | 5 | 3 | 0 | 4 | 7 | 5 | 2 | 6 | 8 | 7 | 4 | 8 | 6 | 9 | 1
14:28 | 14:30 | Measure | 120 | 0 | 3 | 1 | 9 | 2 | 5 | 3 | 0 | 4 | 7 | 5 | 2 | 6 | 8 | 7 | 4 | 8 | 6 | 9 | 1
14:30 | 14:31 | Prep.time | 60 | 0 |  | 1 |  | 2 |  | 3 |  | 4 |  | 5 |  | 6 |  | 7 |  | 8 | 6 | 9 | 7 | 6 | 8 | 7 | 9
14:31 | 14:33 | Measure | 120 | 0 |  | 1 |  | 2 |  | 3 |  | 4 |  | 5 |  | 6 |  | 7 |  | 8 | 6 | 9 | 7 | 6 | 8 | 7 | 9
14:33 | 14:34 | Prep.time | 60 | 0 | 7 | 1 |  | 2 |  | 3 |  | 4 |  | 5 |  | 6 |  | 7 |  | 8 |  | 9 | 6 | 6 | 9 | 7 | 0
14:34 | 14:36 | Measure | 120 | 0 | 7 | 1 |  | 2 |  | 3 |  | 4 |  | 5 |  | 6 |  | 7 |  | 8 |  | 9 | 6 | 6 | 9 | 7 | 0
14:36 | 14:37 | Prep.time | 60 | 0 | 6 | 1 | 7 | 2 |  | 3 |  | 4 |  | 5 |  | 6 |  | 7 |  | 8 |  | 9 |  | 6 | 0 | 7 | 1
14:37 | 14:39 | Measure | 120 | 0 | 6 | 1 | 7 | 2 |  | 3 |  | 4 |  | 5 |  | 6 |  | 7 |  | 8 |  | 9 |  | 6 | 0 | 7 | 1
14:39 | 14:40 | Prep.time | 60 | 0 |  | 1 | 6 | 2 | 7 | 3 |  | 4 |  | 5 |  | 6 |  | 7 |  | 8 |  | 9 |  | 6 | 1 | 7 | 2
14:40 | 14:42 | Measure | 120 | 0 |  | 1 | 6 | 2 | 7 | 3 |  | 4 |  | 5 |  | 6 |  | 7 |  | 8 |  | 9 |  | 6 | 1 | 7 | 2
14:42 | 14:43 | Prep.time | 60 | 0 |  | 1 |  | 2 | 6 | 3 | 7 | 4 |  | 5 |  | 6 |  | 7 |  | 8 |  | 9 |  | 6 | 2 | 7 | 3
14:43 | 14:45 | Measure | 120 | 0 |  | 1 |  | 2 | 6 | 3 | 7 | 4 |  | 5 |  | 6 |  | 7 |  | 8 |  | 9 |  | 6 | 2 | 7 | 3
14:45 | 14:46 | Prep.time | 60 | 0 |  | 1 |  | 2 |  | 3 | 6 | 4 | 7 | 5 |  | 6 |  | 7 |  | 8 |  | 9 |  | 6 | 3 | 7 | 4
14:46 | 14:48 | Measure | 120 | 0 |  | 1 |  | 2 |  | 3 | 6 | 4 | 7 | 5 |  | 6 |  | 7 |  | 8 |  | 9 |  | 6 | 3 | 7 | 4
14:48 | 14:49 | Prep.time | 60 | 0 |  | 1 |  | 2 |  | 3 |  | 4 | 6 | 5 | 7 | 6 |  | 7 |  | 8 |  | 9 |  | 6 | 4 | 7 | 5
14:49 | 14:51 | Measure | 120 | 0 |  | 1 |  | 2 |  | 3 |  | 4 | 6 | 5 | 7 | 6 |  | 7 |  | 8 |  | 9 |  | 6 | 4 | 7 | 5
14:51 | 14:52 | Prep.time | 60 | 0 |  | 1 |  | 2 |  | 3 |  | 4 |  | 5 | 6 | 6 | 7 | 7 |  | 8 |  | 9 |  | 6 | 5 | 7 | 6
14:52 | 14:54 | Measure | 120 | 0 |  | 1 |  | 2 |  | 3 |  | 4 |  | 5 | 6 | 6 | 7 | 7 |  | 8 |  | 9 |  | 6 | 5 | 7 | 6
14:54 | 14:55 | Prep.time | 60 | 0 |  | 1 |  | 2 |  | 3 |  | 4 |  | 5 |  | 6 | 6 | 7 | 7 | 8 |  | 9 |  | 6 | 6 | 7 | 7
14:55 | 14:57 | Measure | 120 | 0 |  | 1 |  | 2 |  | 3 |  | 4 |  | 5 |  | 6 | 6 | 7 | 7 | 8 |  | 9 |  | 6 | 6 | 7 | 7
14:57 | 14:58 | Prep.time | 60 | 0 |  | 1 |  | 2 |  | 3 |  | 4 |  | 5 |  | 6 |  | 7 | 6 | 8 | 7 | 9 |  | 6 | 7 | 7 | 8
14:58 | 15:00 | Measure | 120 | 0 |  | 1 |  | 2 |  | 3 |  | 4 |  | 5 |  | 6 |  | 7 | 6 | 8 | 7 | 9 |  | 6 | 7 | 7 | 8
CC: | Clean Carrier
CAL: | Calibration
This schedule is repeated starting at 0h 8h 14h 16h UTC

## Schedule4x(2separate)
TWSTFT Schedule Europe <-> Europe |  |  |  |  | + Europe <-> USA |  |  |  |  | Since 2004-01-15
First | Last | Action | Length | OP |  | NPL |  | VSL |  | SP |  | PTB |  | OCA |  | IEN |  | ROA |  |  | NIST |  | USNO |  |  | CH |  | TUG |  | C |  | D |  | E |  | F | G | H |  | I
|  |  |  | TX | RX | TX | RX | TX | RX | TX | RX | TX | RX | TX | RX | TX | RX | TX | RX |  | TX | RX | TX | RX |  | TX | RX | TX | RX | TX | RX | TX | RX | TX | RX | TX | RX | TX | RX | TX | RX
hhmmss | hhmmss |  | s | -20 |  | 0 |  | 20 |  | -40 |  | 40 |  | 60 |  | -60 |  | -100 |  |  | 80 |  | -80 |  |  | -20 |  | 0 |  | 20 |  | -40 |  | 40 |  | 60 |  | -60 |  | -100
UTC | UTC |  |  | 0 |  | 1 |  | 2 |  | 3 |  | 4 |  | 5 |  | 6 |  | 7 |  |  | 6 |  | 7 |  |  | 0 |  | 1 |  | 2 |  | 3 |  | 4 |  | 5 |  | 6 |  | 7
0:00 | 0:01 | Prep.time | 60 | CC |  | CC |  | CC |  | CC |  | CC |  | CC |  | CC |  | CC |  | AA | CC |  | CC |  |  | CC |  | CC |  | CC |  | CC |  | CC |  | CC |  | CC |  | CC
0:01 | 0:03 | CC | 120 | CC |  | CC |  | CC |  | CC |  | CC |  | CC |  | CC |  | CC |  |  | CC |  | CC |  |  | CC |  | CC |  | CC |  | CC |  | CC |  | CC |  | CC |  | CC
0:03 | 0:04 | Prep.time | 60 | 0 | 0 | 1 | 1 | 2 | 2 | 3 | 3 | 4 | 4 | 5 | 5 | 6 | 6 | 7 | 7 |  | 6 | 5 | 7 | 0 |  | 0 | 7 | 1 |  | 2 |  | 3 |  | 4 |  | 5 | 6 | 6 |  | 7
0:04 | 0:06 | CAL | 120 | 0 | 0 | 1 | 1 | 2 | 2 | 3 | 3 | 4 | 4 | 5 | 5 | 6 | 6 | 7 | 7 |  | 6 | 5 | 7 | 0 |  | 0 | 7 | 1 |  | 2 |  | 3 |  | 4 |  | 5 | 6 | 6 |  | 7
0:06 | 0:07 | Prep.time | 60 | 0 | 0 | 1 | 1 | 2 | 2 | 3 | 3 | 4 | 4 | 5 | 5 | 6 | 6 | 7 | 7 |  | 6 | 0 | 7 | 1 |  | 0 | 6 | 1 | 7 | 2 |  | 3 |  | 4 |  | 5 |  | 6 |  | 7
0:07 | 0:09 | Ranging | 120 | 0 | 0 | 1 | 1 | 2 | 2 | 3 | 3 | 4 | 4 | 5 | 5 | 6 | 6 | 7 | 7 |  | 6 | 0 | 7 | 1 |  | 0 | 6 | 1 | 7 | 2 |  | 3 |  | 4 |  | 5 |  | 6 |  | 7
0:09 | 0:10 | Prep.time | 60 | 0 | 1 | 1 | 0 | 2 | 3 | 3 | 2 | 4 | 5 | 5 | 4 | 6 | 7 | 7 | 6 |  | 6 | 1 | 7 | 2 |  | 0 |  | 1 | 6 | 2 | 7 | 3 |  | 4 |  | 5 |  | 6 |  | 7
0:10 | 0:12 | Measure | 120 | 0 | 1 | 1 | 0 | 2 | 3 | 3 | 2 | 4 | 5 | 5 | 4 | 6 | 7 | 7 | 6 |  | 6 | 1 | 7 | 2 |  | 0 |  | 1 | 6 | 2 | 7 | 3 |  | 4 |  | 5 |  | 6 |  | 7
0:12 | 0:13 | Prep.time | 60 | 0 | 2 | 1 | 3 | 2 | 0 | 3 | 1 | 4 | 6 | 5 | 7 | 6 | 4 | 7 | 5 |  | 6 | 2 | 7 | 3 |  | 0 |  | 1 |  | 2 | 6 | 3 | 7 | 4 |  | 5 |  | 6 |  | 7
0:13 | 0:15 | Measure | 120 | 0 | 2 | 1 | 3 | 2 | 0 | 3 | 1 | 4 | 6 | 5 | 7 | 6 | 4 | 7 | 5 |  | 6 | 2 | 7 | 3 |  | 0 |  | 1 |  | 2 | 6 | 3 | 7 | 4 |  | 5 |  | 6 |  | 7
0:15 | 0:16 | Prep.time | 60 | 0 | 3 | 1 | 2 | 2 | 1 | 3 | 0 | 4 | 7 | 5 | 6 | 6 | 5 | 7 | 4 |  | 6 | 3 | 7 | 4 |  | 0 |  | 1 |  | 2 |  | 3 | 6 | 4 | 7 | 5 |  | 6 |  | 7
0:16 | 0:18 | Measure | 120 | 0 | 3 | 1 | 2 | 2 | 1 | 3 | 0 | 4 | 7 | 5 | 6 | 6 | 5 | 7 | 4 |  | 6 | 3 | 7 | 4 |  | 0 |  | 1 |  | 2 |  | 3 | 6 | 4 | 7 | 5 |  | 6 |  | 7
0:18 | 0:19 | Prep.time | 60 | 0 | 4 | 1 | 5 | 2 | 6 | 3 | 7 | 4 | 0 | 5 | 1 | 6 | 2 | 7 | 3 |  | 6 | 4 | 7 | 5 |  | 0 |  | 1 |  | 2 |  | 3 |  | 4 | 6 | 5 | 7 | 6 |  | 7
0:19 | 0:21 | Measure | 120 | 0 | 4 | 1 | 5 | 2 | 6 | 3 | 7 | 4 | 0 | 5 | 1 | 6 | 2 | 7 | 3 |  | 6 | 4 | 7 | 5 |  | 0 |  | 1 |  | 2 |  | 3 |  | 4 | 6 | 5 | 7 | 6 |  | 7
0:21 | 0:22 | Prep.time | 60 | 0 | 5 | 1 | 4 | 2 | 7 | 3 | 6 | 4 | 1 | 5 | 0 | 6 | 3 | 7 | 2 |  | 6 | 6 | 7 | 7 |  | 0 |  | 1 |  | 2 |  | 3 |  | 4 |  | 5 |  | 6 | 6 | 7 | 7
0:22 | 0:24 | Measure | 120 | 0 | 5 | 1 | 4 | 2 | 7 | 3 | 6 | 4 | 1 | 5 | 0 | 6 | 3 | 7 | 2 |  | 6 | 6 | 7 | 7 |  | 0 |  | 1 |  | 2 |  | 3 |  | 4 |  | 5 |  | 6 | 6 | 7 | 7
0:24 | 0:25 | Prep.time | 60 | 0 | 6 | 1 | 7 | 2 | 4 | 3 | 5 | 4 | 2 | 5 | 3 | 6 | 0 | 7 | 1 |  | 6 | 7 | 7 | 6 |  | 0 |  | 1 |  | 2 |  | 3 |  | 4 |  | 5 |  | 6 | 7 | 7 | 6
0:25 | 0:27 | Measure | 120 | 0 | 6 | 1 | 7 | 2 | 4 | 3 | 5 | 4 | 2 | 5 | 3 | 6 | 0 | 7 | 1 |  | 6 | 7 | 7 | 6 |  | 0 |  | 1 |  | 2 |  | 3 |  | 4 |  | 5 |  | 6 | 7 | 7 | 6
0:27 | 0:28 | Prep.time | 60 | 0 | 7 | 1 | 6 | 2 | 5 | 3 | 4 | 4 | 3 | 5 | 2 | 6 | 1 | 7 | 0 |  | 6 | 6 | 7 | 7 |  | 0 | 0 | 1 | 1 | 2 | 2 | 3 | 3 | 4 | 4 | 5 | 5 | 6 | 6 | 7 | 7
0:28 | 0:30 | Measure | 120 | 0 | 7 | 1 | 6 | 2 | 5 | 3 | 4 | 4 | 3 | 5 | 2 | 6 | 1 | 7 | 0 |  | 6 | 6 | 7 | 7 |  | 0 | 0 | 1 | 1 | 2 | 2 | 3 | 3 | 4 | 4 | 5 | 5 | 6 | 6 | 7 | 7
0:30 | 0:31 | Prep.time | 60 | CC |  | CC |  | CC |  | CC |  | CC |  | CC |  | CC |  | CC |  |  | CC |  | CC |  | AA | CC |  | CC |  | CC |  | CC |  | CC |  | CC |  | CC |  | CC
0:31 | 0:33 | Measure | 120 | CC |  | CC |  | CC |  | CC |  | CC |  | CC |  | CC |  | CC |  |  | CC |  | CC |  |  | CC |  | CC |  | CC |  | CC |  | CC |  | CC |  | CC |  | CC
0:33 | 0:34 | Prep.time | 60 | 0 | 7 | 1 |  | 2 |  | 3 |  | 4 |  | 5 | 6 | 6 |  | 7 |  |  | 6 | 5 | 7 | 0 |  | 0 | 0 | 1 | 1 | 2 | 2 | 3 | 3 | 4 | 4 | 5 | 5 | 6 | 6 | 7 | 7
0:34 | 0:36 | Measure | 120 | 0 | 7 | 1 |  | 2 |  | 3 |  | 4 |  | 5 | 6 | 6 |  | 7 |  |  | 6 | 5 | 7 | 0 |  | 0 | 0 | 1 | 1 | 2 | 2 | 3 | 3 | 4 | 4 | 5 | 5 | 6 | 6 | 7 | 7
0:36 | 0:37 | Prep.time | 60 | 0 | 6 | 1 | 7 | 2 |  | 3 |  | 4 |  | 5 |  | 6 |  | 7 |  |  | 6 | 0 | 7 | 1 |  | 0 | 0 | 1 | 1 | 2 | 2 | 3 | 3 | 4 | 4 | 5 | 5 | 6 | 6 | 7 | 7
0:37 | 0:39 | Measure | 120 | 0 | 6 | 1 | 7 | 2 |  | 3 |  | 4 |  | 5 |  | 6 |  | 7 |  |  | 6 | 0 | 7 | 1 |  | 0 | 0 | 1 | 1 | 2 | 2 | 3 | 3 | 4 | 4 | 5 | 5 | 6 | 6 | 7 | 7
0:39 | 0:40 | Prep.time | 60 | 0 |  | 1 | 6 | 2 | 7 | 3 |  | 4 |  | 5 |  | 6 |  | 7 |  |  | 6 | 1 | 7 | 2 |  | 0 | 1 | 1 | 0 | 2 | 3 | 3 | 2 | 4 | 5 | 5 | 4 | 6 | 7 | 7 | 6
0:40 | 0:42 | Measure | 120 | 0 |  | 1 | 6 | 2 | 7 | 3 |  | 4 |  | 5 |  | 6 |  | 7 |  |  | 6 | 1 | 7 | 2 |  | 0 | 1 | 1 | 0 | 2 | 3 | 3 | 2 | 4 | 5 | 5 | 4 | 6 | 7 | 7 | 6
0:42 | 0:43 | Prep.time | 60 | 0 |  | 1 |  | 2 | 6 | 3 | 7 | 4 |  | 5 |  | 6 |  | 7 |  |  | 6 | 2 | 7 | 3 |  | 0 | 2 | 1 | 3 | 2 | 0 | 3 | 1 | 4 | 6 | 5 | 7 | 6 | 4 | 7 | 5
0:43 | 0:45 | Measure | 120 | 0 |  | 1 |  | 2 | 6 | 3 | 7 | 4 |  | 5 |  | 6 |  | 7 |  |  | 6 | 2 | 7 | 3 |  | 0 | 2 | 1 | 3 | 2 | 0 | 3 | 1 | 4 | 6 | 5 | 7 | 6 | 4 | 7 | 5
0:45 | 0:46 | Prep.time | 60 | 0 |  | 1 |  | 2 |  | 3 | 6 | 4 | 7 | 5 |  | 6 |  | 7 |  |  | 6 | 3 | 7 | 4 |  | 0 | 3 | 1 | 2 | 2 | 1 | 3 | 0 | 4 | 7 | 5 | 6 | 6 | 5 | 7 | 4
0:46 | 0:48 | Measure | 120 | 0 |  | 1 |  | 2 |  | 3 | 6 | 4 | 7 | 5 |  | 6 |  | 7 |  |  | 6 | 3 | 7 | 4 |  | 0 | 3 | 1 | 2 | 2 | 1 | 3 | 0 | 4 | 7 | 5 | 6 | 6 | 5 | 7 | 4
0:48 | 0:49 | Prep.time | 60 | 0 |  | 1 |  | 2 |  | 3 |  | 4 | 6 | 5 | 7 | 6 |  | 7 |  |  | 6 | 4 | 7 | 5 |  | 0 | 4 | 1 | 5 | 2 | 6 | 3 | 7 | 4 | 0 | 5 | 1 | 6 | 2 | 7 | 3
0:49 | 0:51 | Measure | 120 | 0 |  | 1 |  | 2 |  | 3 |  | 4 | 6 | 5 | 7 | 6 |  | 7 |  |  | 6 | 4 | 7 | 5 |  | 0 | 4 | 1 | 5 | 2 | 6 | 3 | 7 | 4 | 0 | 5 | 1 | 6 | 2 | 7 | 3
0:51 | 0:52 | Prep.time | 60 | 0 |  | 1 |  | 2 |  | 3 |  | 4 |  | 5 |  | 6 | 6 | 7 | 7 |  | 6 | 6 | 7 | 7 |  | 0 | 5 | 1 | 4 | 2 | 7 | 3 | 6 | 4 | 1 | 5 | 0 | 6 | 3 | 7 | 2
0:52 | 0:54 | Measure | 120 | 0 |  | 1 |  | 2 |  | 3 |  | 4 |  | 5 |  | 6 | 6 | 7 | 7 |  | 6 | 6 | 7 | 7 |  | 0 | 5 | 1 | 4 | 2 | 7 | 3 | 6 | 4 | 1 | 5 | 0 | 6 | 3 | 7 | 2
0:54 | 0:55 | Prep.time | 60 | 0 |  | 1 |  | 2 |  | 3 |  | 4 |  | 5 |  | 6 | 7 | 7 | 6 |  | 6 | 7 | 7 | 6 |  | 0 | 6 | 1 | 7 | 2 | 4 | 3 | 5 | 4 | 2 | 5 | 3 | 6 | 0 | 7 | 1
0:55 | 0:57 | Measure | 120 | 0 |  | 1 |  | 2 |  | 3 |  | 4 |  | 5 |  | 6 | 7 | 7 | 6 |  | 6 | 7 | 7 | 6 |  | 0 | 6 | 1 | 7 | 2 | 4 | 3 | 5 | 4 | 2 | 5 | 3 | 6 | 0 | 7 | 1
0:57 | 0:58 | Prep.time | 60 | 0 | 0 | 1 | 1 | 2 | 2 | 3 | 3 | 4 | 4 | 5 | 5 | 6 | 6 | 7 | 7 |  | 6 | 6 | 7 | 7 |  | 0 | 7 | 1 | 6 | 2 | 5 | 3 | 4 | 4 | 3 | 5 | 2 | 6 | 1 | 7 | 0
0:58 | 1:00 | CAL | 120 | 0 | 0 | 1 | 1 | 2 | 2 | 3 | 3 | 4 | 4 | 5 | 5 | 6 | 6 | 7 | 7 |  | 6 | 6 | 7 | 7 |  | 0 | 7 | 1 | 6 | 2 | 5 | 3 | 4 | 4 | 3 | 5 | 2 | 6 | 1 | 7 | 0
CC: | Clean Carrier
CAL: | Calibration
SP: | Original DTAG, temporally NPL2 and TUG movable station, now assigned to SP (Sweden)
OP: | Original TUG, now assigned to Observatoire de Paris (OP)
This schedule is repeated at : |  |  | 08.00 UTC |  | 14.00 UTC |  | 16:00 UTC