# Questionnaire previous to the 2003 meeting of the ad hoc CCL/CCTF joint  working group

- Frequency sources in the microwave and/or in the optical domain

  - Have you made absolute frequency measurements of existing sources included in the CCL list of recommended radiations (Mise en Pratique 2001)?

Yes

If yes, please list the values and uncertainties obtained and the method used (comb, chain or other techniques) and refer to the publication in which they may be found. Please be sure to include measurements made in other laboratories in your country.

The results are given in the questionnaire of the working group for the Mise en Pratique.

    - Do you think that these sources could be proposed as candidates for secondary representations of the second?

No

  - Have you made absolute frequency measurements of existing sources not included in the CCL list of recommended radiations (Mise en Pratique 2001)?

Yes

If yes, please list the values and uncertainties obtained and the method used (comb, chain or other techniques) and refer to the publication in which they may be found. Please be sure to include measurements made in other laboratories in your country.

Sr in the visible domain (see the Mise en pratique questionnaire)

Rb at 6 834 682 610. 904 324 Hz relative uncertainty : 10-15 (1)

Measured compared to a Cesium fountain.

    - Do you think that these sources could be included in a up dated list of recommended radiations and/or proposed as candidates for secondary representation of the second?

Yes

  - Are you currently developing new frequency sources?

Yes

If yes, please give a brief description of your experiment.

See the Mise en Pratique questionnaire.

- Working group

  - Concerning the membership of the joint CCTF/CCL, do you agree on

2.2.1. including all the members of the CCTF working group on the secondary representations of the second and all the members  of the CCL MeP working group?

Yes

2.2.2. including some of the members of the CCTF working group on the secondary representations of the second and some of the members  of the CCL MeP working group?

Yes			No

2.2.3. nominating experts from laboratories that are not members of the CCTF and the CCL?

No

If so, who would you like to propose? Note that we may need to restrict the numbers so that it may be necessary to restrict the number of such people.

……………………………………………………………………………………….

……………………………………………………………………………………….

  - Do you agree that the chairpersons of the joint CCTF/CCL working group should participate in the forthcoming CCTF and CCL meetings so that a direct report can be given?

Yes

  - Do you think that the joint CCTFL/CCL working group should regularly meet apart from the CCTF and CCL meetings?

No

NAME: D. Rovera, J.-P. Wallerand, P. Juncar INSTITUTE:BNM………………………………………………………………………………