# Questionnaire previous to the 2003 meeting of the ad hoc CCL/CCTF joint  working group

- Frequency sources in the microwave and/or in the optical domain

  - Have you made absolute frequency measurements of existing sources included in the CCL list of recommended radiations (Mise en Pratique 2001)?

Yes 			No

If yes, please list the values and uncertainties obtained and the method used (comb, chain or other techniques) and refer to the publication in which they may be found. Please be sure to include measurements made in other laboratories in your country.

Frequency measurement of an Iodine Stabilized He-Ne/I2  laser at ( =633 nm

organised by BIPM at March, 2003.

Absolute frequency of UME He-Ne/I2 (f component) = 473612353602 ( 2,21 kHz

The results can be found in the document, BIPM/LEN-F-01.

Absolute frequency measurements of the UME  He-Ne/CH4 methane stabilized optical frequency standards (TOFS).

Absolute frequency of the UME TOFS of  88 376 181 000 253 ( 23 Hz.

The Absolute frequency of the UME TOFS measured by PTB Chain organised by PTB, 20 November–13 December 2000.

The results can be found in

R.Gamidov, C.Erdoğan, E.Şahin, M.Gubin, E.Kovalchuk, E.Petrukhin

Proceedings 6th Symposium on Frequency Standards and Metrology Scotland, 2001

    - Do you think that these sources could be proposed as candidates for secondary representations of the second?

Yes 			 No

  - Have you made absolute frequency measurements of existing sources not included in the CCL list of recommended radiations (Mise en Pratique 2001)?

Yes			No

If yes, please list the values and uncertainties obtained and the method used (comb, chain or other techniques) and refer to the publication in which they may be found. Please be sure to include measurements made in other laboratories in your country.

    - Do you think that these sources could be included in a up dated list of recommended radiations and/or proposed as candidates for secondary representation of the second?

Yes			No

  - Are you currently developing new frequency sources?

Yes			No

If yes, please give a brief description of your experiment.

- Working group

  - Concerning the membership of the joint CCTF/CCL, do you agree on

2.2.1. including all the members of the CCTF working group on the secondary representations of the second and all the members  of the CCL MeP working group?

Yes			No

2.2.2. including some of the members of the CCTF working group on the secondary representations of the second and some of the members  of the CCL MeP working group?

Yes			No

2.2.3. nominating experts from laboratories that are not members of the CCTF and the CCL?

Yes			No

If so, who would you like to propose? Note that we may need to restrict the numbers so that it may be necessary to restrict the number of such people.

……………………………………………………………………………………….

……………………………………………………………………………………….

  - Do you agree that the chairpersons of the joint CCTF/CCL working group should participate in the forthcoming CCTF and CCL meetings so that a direct report can be given?

Yes			No

  - Do you think that the joint CCTFL/CCL working group should regularly meet apart from the CCTF and CCL meetings?

Yes			No

NAME: Dr. Tanfer Yandayan / Dr. Ramiz Gamidov

INSTITUTE:  UME