Report of the joint working group of the CCTF/CCL

to the Consultative Committee for Time and Frequency 2004

Prepared by Dr. Fritz Riehle (CCTF) and Patrick Gill (CCL)

Introduction

During its 15th session the CCTF made the Recommendation CCTF 1(2001) (see appendix 1) and at the same time set-up a CCTF working group on secondary representations of the second with the following Terms of Reference.

- to see that Recommendation CCTF 1(2001) is implemented;

- to establish appropriate links with the CCL;

- to present a list of proposed frequencies to the CCTF at its next meeting;

- to consult on this matter with member laboratories of the CCTF.

At the session the President requested the BNM-LPTF, IEN, NIST, NPL, NRC, NMIJ, PTB, and VNIIFTRI to suggest delegates to work under the guidance of a CCTF representative to execute the terms of reference. Dr. Quinn was asked to take action to establish the working group.

In the following the activities and status of the working group and the results obtained so far are reported considering the achievements until the end of 2003. An amendment to this report will be presented at the session of the CCTF including the latest results obtained at the meeting of the working group on 30 March 2004 preceding the session of the CCTF.

Activities and Status of the Working Group

In September 2001, Dr. Quinn proposed the subject to CCL. In the following CCL proposed an updated list of radiations to the CIPM that also included secondary representations of the second.

In October 2001, the CIPM recommended that discussions between CCTF and CCL should continue possibly leading to a joint CCTF/CCL working group to set up a single list of frequencies that includes reference frequencies for the realization of the meter and frequencies potentially useful as basis for secondary representations of the second.

In February 2002, a questionnaire (document CCL-CCTF/03-04) was sent to the members of the CCTF-WG by the appointed chairman Dr. Fritz Riehle. As a result it was agreed that the working group should first concentrate on devising suitable criteria for recommending quantum transitions for secondary representations of the second. Afterwards it should identify and evaluate suitable transitions in the microwave regime that can serve the purpose. Thirdly, suitable transitions in the optical regime should be identified and evaluated which could be adopted from the Mise en Pratique of the CCL.

In May 2003, the CCTF-WG with guests from the CCL had an informal meeting in Tampa, Florida, USA, during the joint meeting of the 17th EFTF and the 2003 IEEE IFCS, where the responses to the questionaire was discussed. The meeting agreed on the purpose of the list of secondary representations of the second, and on the necessity that a single list should be prepared and periodically updated by the Joint WG. It was also agreed that entries into the list could carry labels stating either that the transition is approved as a reference transition for the realization of the meter, or that the transition is approved as a secondary representation of the second.

In order to follow the intention of the recommendation CCTF 1(2001), it was decided that the number of CCTF- attributed transitions would currently be small and should, deliberately, be kept small by applying stringent requirements. From the answers to the questionnaire, there was no complete agreement about the relative uncertainty that a secondary representation of the second should have. Another outcome was that a detailed paper in a peer-reviewed journal should be published, which should detail the uncertainty for realizing the unperturbed transition frequency. Hence, the group discussed the extent to which this uncertainty might be larger than that of the current primary frequency standard but still sufficiently small to accept the candidate transition for the purpose. The group came to the view that this uncertainty should be substantially lower than that of a high quality GPS-disciplined oscillator, and preferentially be not more than a factor 10 above the current uncertainty of the best primary frequency standards. To gain confidence in the suitability for the purpose, there should either be a number of repeated, independent measurements with respect to a primary frequency standard, or measurements using standards in different laboratories should be available.

On 8th and 9th September 2003 under the joint leadership of Dr. Myung Sai Chung, President of the CCL, and Prof. Sigfrido Leschiutta, President of the CCTF and the Director of the BIPM, Dr Quinn, the first meeting of the ad-hoc joint working group of the CCTF and CCL took place at the BIPM. The chairmen were Dr Gill from NPL and Dr Riehle from PTB. It was agreed that the joint CCL/CCTF working group would sit between the CCTF, which is concerned with secondary representations of the second, and the CCL, which is concerned with the realization of the definition of the meter. The joint CCL/CCTF working group developed the structure, acceptance criteria and working procedures for proposing potential secondary representations of the second for acceptance by the CCTF. It was finally agreed that the joint CCL/CCTF working group should meet on the 30th March 2004 immediately prior to the CCTF. Its membership would be drawn from IEN, BNM, NMIJ, NPL, NIST, NRC, PTB, VNIIFTRI under the joint chairmanship of Dr Patrick Gill, NPL and Dr Fritz Riehle, PTB. Consensus was achieved that the above list of members of the joint working group has to be regarded as a dynamical one.

# Results and Recommendations

- There will be a single list of recommended radiations, within which some radiations would relate to the realization of the meter, and others would relate to the secondary representations of the second.

- The joint CCL/CCTF working group periodically reviews and discusses the uncertainty budgets of suitable standards. The working group would evaluate the validity of the uncertainty budget before making their recommendation to the CCTF that the standard be added to the list of frequencies as appropriate for secondary representations of the second. The joint working group would keep the CCL informed about its activity.

- a) The SI value of the unperturbed frequency of a quantum transition suitable as a secondary representation of the second must have an uncertainty that is evaluated and documented so as to meet the requirements adopted for the primary frequency standards for use in International Atomic Time.
b) This uncertainty should be no larger than about a factor of 10 of the primary standards of that date that serve as the best realizations of the second.

- With this criterion currently no optical standard qualifies and only one microwave standard, i.e. the Rb microwave (fountain) standard. At the next joint CCL/CCTF working group that will be held at the BIPM on 30th March 2004 the uncertainty of the Rb standard will be evaluated.

- The rapid progress with optical frequency standards, however, requires that they are critically evaluated periodically for their possible use as secondary representations of the second.

# Conclusions

With the current status of the joint working group and a single list of frequencies it is ensured that no numerical ambiguity can occur with frequencies that can be used for the realization of the meter or those recommended as secondary representations of the second. Such a single list has furthermore the capability to include also frequency standards that have been recommended neither for the realization of the meter nor as secondary representations of the second, but rather have applications in basic research or applied technology.

Appendix 1

Recommendation CCTF 1 (2001):

Secondary representations of the second

The Consultative Committee for Time and Frequency,

considering that

the present definition of the second, based on the caesium 133 atom, remains unchanged,

there are a number of new atoms and ions being studied as potential bases for atomic frequency standards,

new optical-frequency measurement concepts may allow the use of optical transitions as practical frequency standards, since they provide for a direct microwave output from such standards,

new frequency standards based on other microwave transitions are being studied,

one of these new standards could eventually be considered as the basis for a new definition of the second;

intends to examine and approve accurate frequency measurements of atom and ion transition frequencies made relative to the caesium frequency standard as secondary representations of the second,

recommends that

a list of such secondary representations of the second be established,

the requirements for documentation of uncertainty that apply to secondary representations of the second be the same as those for primary caesium standards for use in International Atomic Time.

Appendix 2

Questionaire (submitted to the members of the working group in March 2002)

Dear colleagues,

at the last CCTF a Working group of the CCTF on secondary representations of the second has been established (see the attached Recommendation CCTF 1 (2001) ) where your institute has been named as a member. In the mean time there have been some activities which I have listed below (see the attached list: Activities 2001). As I understand, the CIPM in its session last autumn has recommended that the activities of the CCTF working group should be harmonized with the activities of the CCL (Mise en Pratique). This may lead eventually to a joined working group of CCTF and CCL and a single list that can serve the needs of the time and frequency community and the length community as well. This is more than the scope of the recommendation CCTF1 (2001) and together with Dr. Quinn I recommend that we proceed with the work along the lines indicated in the last two items of the Activities 2001 list.

Do you agree with this procedure?

In any case, in our working group we have to “examine and approve accurate frequency measurements of atom and ion transition frequencies made relative to the caesium frequency standard as secondary representations of the second”. I suggest that we divide our work into three parts.

We should concentrate on devising criteria for transition frequencies that can serve the purpose of recommendation CCTF1 (2001).

We have to identify and evaluate suitable transitions in the microwave regime that can serve the purpose.

We have to identify and evaluate suitable transitions in the optical regime. It seems reasonable to adopt these from the Mise en Pratique of the CCL

Hence, I suggest that we discuss the following points:

Criteria for recommending quantum transitions for secondary representations of the second

i)	Considering the high accuracy achieved with primary Cs standards with fractional uncertainties as low as 10-15 and the low uncertainty that can be achieved with the time and frequency transfer into any laboratory, it does not seem appropriate to recommend any transition that has a relative uncertainty much above 10-14.

Do you agree with this statement? If so, then e.g. the hydrogen maser and a number of the radiations given in the Mise en Pratique, in particular the iodine-stabilized He-Ne laser, are not relevant for our purpose.

ii) Considering that there is a large number of possible candidates but only very few may ever be used to make a contribution to time metrology one could adopt the stand point to recommend only those transitions that are likely to be used for a secondary realization of the second.

Do you agree with this statement?

iii) Considering that the ultimate uncertainty can be reached only with absorbers where the corrections due to the second-order Doppler effect (time dilation effect) can be kept small transitions in (laser ?) cooled samples are required.

Do you agree with this statement?

Secondary representations of the second in the microwave region

The most obvious candidate seems to be the 87Rb hyperfine transition that has been measured in an atomic fountain:

S. Bize et al: High-accuracy measurement of the 87Rb ground-state hyperfine splitting in an atomic fountain, Europhys. Lett. 45, 558-564 (1999) and

P. Lemonde et al: Cold-Atom Clocks on Earth and in Space in Frequency Measurement and Control, A.N. Luiten (ed) Springer 2000, pp.131 - 152

The value given there is:

fRb=6 834 682 610.904 333(17) Hz

Another candidate is the 199Hg+ hyperfine transition

D. J. Berkeland et al: Laser-Cooled Mercury Ion Frequency Standard, Phys. Rev. Lett. 80, 2089-2092. The value given there is

fHg,mw = 40 507 347 996.841 59(14)(41) Hz

Another candidate is the 171Yb+ hyperfine transition

P. Fisk et al: Accurate Measurement of the 12.6 GHz "Clock'' Transition in Trapped 171Yb+ Ions, IEEE Trans. Ultrason. Ferroelec. Freq. Contr., 44, 344--354 (1997)

fYb,mw =12.642 812 118(2) Hz

This standard is based on a large number of buffer gas cooled ions, laser cooled samples have been prepared recently (Contribution at the International Conference on Frequency Standards and Metrology, St. Andrews, September 2001)

Do you want to include these transitions and/or others?

Secondary representations of the second in the optical region

Which ones of the recommended radiations given in the CCL recommendation presented in Dr. Quinn's email would you include?

(e.g. 199Hg+ 1.064 PHz transition, 171Yb+ 688 THz transition)

I suggest that the members of the CCTF working group on secondary representations of the second begin to discuss these and any other topics you find related to this issue.

It would be most helpful if you could send me an answer before the 15 th of March 2002.

Appendix 3

Response to the Questionaire

(prepared for the members of the CCTF WG on May 2nd 2003

at the Tampa meeting by Fritz Riehle, PTB)

The questionaire has been sent by PTB in 2002 to all members of the working group i.e. IEN, LPTF, NIST, NMIJ, NPL, NRC, PTB, VNIIFTRI. Answers have been received from IEN, NIST, NMIJ, NPL, NRC, PTB, VNIIFTRI. The original responses have been sent to the members of the WG by email of 11 April 2003.

Summary of the responses:

A. The members responding agreed to proceed as proposed i. e.

The working group of CCTF has to decide on criteria for radiations that can serve as secondary representations of the second and to present this list to the next CCTF.

Dr. Quinn proposed to meet with Dr. P. Gill and Dr. F. Riehle and possibly other members of the CCTF working group attending the course at the BIPM (21,22 March 2002 at the BIPM) to discuss the matters and make preparations for a joined working group of CCTF and CCL which could be put into operation immediately after approval by the CCTF.

B. There was also agreement on the suggestion to divide the work into three parts:

We should concentrate on devising criteria for transition frequencies that can serve the purpose of recommendation CCTF1 (2001).

We have to identify and evaluate suitable transitions in the microwave regime that can serve the purpose.

We have to identify and evaluate suitable transitions in the optical regime. It seems reasonable to adopt these from the Mise en Pratique of the CCL

C. The response to the propositions on Criteria for recommending quantum transitions for secondary representations of the second.

First, almost nobody seemed to like the 3rd statement that laser-cooled absorbers have to be used.

Most of the responding people had objections against the second statement to recommend only those transitions that are likely to be used for a secondary realization of the second.

The response to the propositions on the criterion it does not seem appropriate to recommend any transition that has a relative uncertainty much above 10-14 was most controversial.

IEN agreed.

NMIJ recommended “smaller than 10-13”.

NRC had mixed opinions. Some members found 10-14 reasonable (but needs further justification) but others wanted to include the whole CCL list (Mise en pratique).

NPL was in favour of a fixed hard limit (at the moment extending from 10-14 to 10-13).

VNIIFTRI would like to discuss these matters on a meeting.

NIST asked for a floating limit “that must have an uncertainty that is no larger than a factor of 10 of the best primary standards of that date” . NIST furthermore asked that the joint working group of CCTF and CCL should review and discuss the proposed standard’s error budget and evaluate its validity. NIST furthermore insisted that the proposed standard must be evaluated and used in more than one laboratory.